## hrs_2025
#VALUE! | Info & | Info & |  | Sys | Pricelist
| Photo | Type/www | Procuct Code | code | λιανικής | e-shop
Acturio. Switch Actuators |  | https://horos.gr/product/mdt/knx-actuators/
AKS series MDRC standard 140µF C-load
Switch Actuator 1-fold, flush mounted, 16 A, 230VAC, C-load, Standard, 140 µF | #VALUE! |  | AKS-01UP.03 | 041.054 | 136 | 74.8
Switch Actuator 2-fold, flush mounted, 16 A, 230VAC, C-load, Standard, 140 µF |  |  | AKS-02UP.03 | 041.055 | 150 | 82.5
Switch Actuator 2-fold, 2SU MDRC, 10A, 230VAC, C-load, standard, 140μF | #VALUE! |  | AKS-0210.03 | 041.062 | 223 | 122.65
Switch Actuator 2-fold, 2SU MDRC, 16A, 230VAC, C-load, standard, 140μF |  |  | AKS-0216.03 | 041.046 | 239 | 131.45
Switch Actuator 4-fold, 4SU MDRC, 10A, 230VAC, C-load, standard, 140μF | #VALUE! |  | AKS-0410.03 | 041.045 | 276 | 151.8
Switch Actuator 4-fold, 4SU MDRC, 16A, 230VAC, C-load, standard, 140μF |  |  | AKS-0416.03 | 041.009 | 296 | 162.8
Switch Actuator 8-fold, 6SU MDRC, 10A, 230VAC, C-load, standard, 140μF | #VALUE! |  | AKS-0810.03 | 041.043 | 386 | 212.3
Switch Actuator 8-fold, 6SU MDRC, 16A, 230VAC, C-load, standard, 140μF |  |  | AKS-0816.03 | 041.010 | 410 | 225.5
Switch Actuator 12-fold, 8SU MDRC, 10A, 230VAC, C-load, standard, 140μF | #VALUE! |  | AKS-1210.03 | 041.044 | 481 | 264.55
Switch Actuator 12-fold, 8SU MDRC, 16A, 230VAC, C-load, standard, 140μF |  |  | AKS-1216.03 | 041.011 | 508 | 279.4
Switch Actuator 16-fold, 8SU MDRC, 16A, 230VAC, C-load, standard, 140µF | #VALUE! |  | AKS-1616.03 | 041.012 | 601 | 330.55
Switch Actuator 20-fold, 12SU MDRC, 16A, 230VAC, C-load, standard, 140μF |  |  | AKS-2016.03 | 041.013 | 733 | 403.15
Switch Actuator 24-fold, 12SU MDRC, 16A, 230VAC, C-load, standard, 140μF |  |  | AKS-2416.03 | 041.037 | 822 | 452.1
AKK series flush mounted
Switch Actuator 1-fold, flush mounted, 16A, 70µ, 10ECG, 230VAC, Compact | #VALUE! |  | AKK-01UP.03 | 041.005 | 122 | 67.1
Switch Actuator 2-fold, flush mounted, 10A, 14µ, 2ECG, 230VAC, Compact |  |  | AKK-02UP.03 | 041.006 | 134 | 73.7
Switch Actuator 3-fold, flush mounted, 10A, 14µ, 2ECG, 230VAV, Fan coil |  |  | AKK-03UP.03 | 041.007 | 189 | 103.95
AKK series MDRC compact
Switch Actuator 2-fold, 2SU MDRC, 16A, 230VAC, compact, 70µ, 10ECG | #VALUE! |  | AKK-0216.03 | 041.001 | 203 | 111.65
Switch Actuator 4-fold, 2SU MDRC, 16A, 230VAC, compact, 70µ, 10ECG |  |  | AKK-0416.03 | 041.002 | 246 | 135.3
Switch Actuator 8-fold, 4SU MDRC, 16A, 230VAC, compact, 70µ, 10ECG | #VALUE! |  | AKK-0816.03 | 041.003 | 351 | 193.05
Switch Actuator 16-fold, 8SU MDRC, 16A, 230VAC, compact, 70µ, 10ECG |  | Best Seller | AKK-1616.03 | 041.004 | 526 | 289.3
Switch Actuator 24-fold, 12SU MDRC, 16A, 230VAC, compact, 70µ, 10ECG |  |  | AKK-2416.03 | 041.040 | 728 | 400.4
Switch Actuator 4-fold, 2SU MDRC, 16A, 230VAC, compact, 70µ, 10ECG, Fan coil |  |  | AKK-04FC.03 | 041.008 | 252 | 138.6
Acturio. Universal Actuators AKU series |  | https://horos.gr/product/mdt/knx-actuators/
Universal Actuator 2-fold, flush mounted, 10A, 230VAC, 14µF, 2ECG with 4 binary inputs |  |  | AKU-B2UP.03 | 041.053 | 171 | 94.05
Universal Actuator 2-fold, flush mounted, 10A, 230VAC, 14µF, 2ECG |  |  | AKU-02UP.03 | 041.060 | 147 | 80.85
Universal Actuator 4-fold, 4SU MDRC, 16A, 230VAC, 100µF, 15ECG | #VALUE! |  | AKU-0416.03 | 041.038 | 282 | 155.1
Universal Actuator 6-fold, 4SU MDRC, 16A, 230VAC, 100µF, 15ECG |  |  | AKU-0616.03 | 041.041 | 329 | 180.95
Universal Actuator 8-fold, 4SU MDRC, 16A, 230VAC, 100µF, 15ECG | #VALUE! | Best Seller | AKU-0816.03 | 041.014 | 390 | 214.5
Universal Actuator 16-fold, 8SU MDRC, 16A, 230VAC, 100µF, 15ECG |  |  | AKU-1616.03 | 041.015 | 566 | 311.3
Universal Actuator 24-fold, 8SU MDRC, 16A, 230VAC, 100µF, 15ECG |  |  | AKU-2416.03 | 041.050 | 773 | 425.15
Acturio. Universal IN-OUT Actuators AKR series |  | https://horos.gr/product/mdt/knx-inputs/
Actuator 8-channel, 10 inputs, 4SU, MDRC, 16A, 140µF, Secure | #VALUE! | New!! | AKR-IO108.01S | 041.068 | 445 | 244.75
Actuator 6-channel, 8 inputs, 4SU, MDRC, 16A, 140µF, Secure |  | New!! | AKR-IO86.01S | 041.069 | 407 | 223.85
Acturio. Heating Actuators AKH for 24V/230VAC valve drives, temp controller |  | https://horos.gr/product/mdt/knx-actuators/
Heating Actuator 4-fold, 2SU MDRC, 24-230VAC | #VALUE! |  | AKH-0400.03 | 041.032 | 239 | 131.45
Heating Actuator 6-fold, 3SU MDRC, 24-230VAC |  |  | AKH-0600.03 | 041.031 | 269 | 147.95
Heating Actuator 8-fold, 4SU MDRC, 24-230VAC |  |  | AKH-0800.03 | 041.033 | 301 | 165.55
Acturio. Energy meter EZ series MDRC |  | https://horos.gr/product/mdt/knx-misc/
Energy meter 3-fold 20A, direct measurement, 4TE REG, 230/400 VAC | #VALUE! |  | EZ-0320.01 | 041.058 | 301 | 165.55
Energy meter 3-fold 63A, transformer measurement, 4TE REG, 230/400 VAC |  | New!! | EZ-0363.01 | 041.059 | 440 | 242
Acturio. Shutter Actuators |  | https://horos.gr/product/mdt/knx-shutters/
JAL series MDRC, 230VAC
Shutter Actuator 2-fold, 2SU MDRC, 10A, 230VAC | #VALUE! |  | JAL-0210.02 | 041.018 | 215 | 118.25
Shutter Actuator 4-fold, 4SU MDRC, 10A, 230VAC |  |  | JAL-0410.02 | 041.019 | 328 | 180.4
Shutter Actuator 8-fold, 8SU MDRC, 10A, 230VAC |  | Best Seller | JAL-0810.02 | 041.020 | 496 | 272.8
Shutter Actuator 1-fold, flush mounted, 6A, 230VAC | #VALUE! |  | JAL-01UP.02 | 041.016 | 136 | 74.8
Shutter Actuator 1-fold, flush mounted, 6A, 230VAC, with 4 binary inputs |  |  | JAL-B1UP.02 | 041.017 | 162 | 89.1
JAL series MDRC, 230VDC & 24VDC
Shutter Actuator 4-fold, 4SU MDRC, 10A, 230VAC with travel time measurement | #VALUE! |  | JAL-0410M.02 | 041.049 | 364 | 200.2
Shutter Actuator 8-fold, 8SU MDRC, 10A, 230VAC with travel time measurement |  |  | JAL-0810M.02 | 041.039 | 567 | 311.85
Shutter Actuator 4-fold, 4SU MDRC, 8A, 24VDC | #VALUE! |  | JAL-0410D.02 | 041.035 | 331 | 182.05
Shutter Actuator 8-fold, 8SU MDRC, 8A, 24VDC |  |  | JAL-0810D.02 | 041.063 | 499 | 274.45
AKI, AMI, AZI, AMS series MDRC industrie 200µF C-load
Switch Actuator 4-fold, 4SU MDRC, 16/20A, 230VAC, C-load, industrie, 200μF |  |  | AKI-0416.04 | 041.036 | 336 | 184.8
Switch Actuator 8-fold, 8SU MDRC, 16/20A, 230VAC, C-load, industrie, 200μF |  |  | AKI-0816.04 | - | 459 | 252.45
Switch Actuator 12-fold, 12SU MDRC, 16/20A, 230VAC, C-load, industrie, 200μF |  |  | AKI-1216.04 | 041.056 | 559 | 307.45
Switch Actuator 4-fold, 4SU MDRC, 16/20A, 230VAC, C-load, industrie, 200μF, current measurement |  |  | AMI-0416.03 | 041.051 | 377 | 207.35
Switch Actuator 8-fold, 8SU MDRC, 16/20A, 230VAC, C-load, industrie, 200μF, current measurement |  |  | AMI-0816.03 | 041.057 | 512 | 281.6
Switch Actuator 12-fold, 12SU MDRC, 16/20A, 230VAC, C-load, industrie, 200μF, current measurement |  |  | AMI-1216.03 | 041.064 | 631 | 347.05
Switch Actuator 3-fold, 4SU, MDRC, 16/20A, 230VAC, C-load, 200µF, power measurement |  |  | AZI-0316.03 | 041.034 | 377 | 207.35
Switch Actuator 6-fold, 8SU, MDRC, 16/20A, 230VAC, C-load, 200µF, power measurement |  |  | AZI-0616.03 | - | 519 | 285.45
Switch Actuator 4-fold, 4SU MDRC, 16A, 230VAC, C-load, standard, 140μF, current measurement |  |  | AMS-0416.03 | - | 350 | 192.5
Switch Actuator 8-fold, 8SU MDRC, 16A, 230VAC, C-load, standard, 140μF, current measurement |  |  | AMS-0816.03 | - | 481 | 264.55
Switch Actuator 12-fold, 12SU MDRC, 16A, 230VAC, C-load, standard, 140μF, current measurement |  |  | AMS-1216.03 | 041.052 | 599 | 329.45
Acturio. Dimming Actuators |  | https://horos.gr/product/mdt/knx-dimmers/
AKD series MDRC for 230VAC lamps, 250W per cannel & 1-10V
Dimming Actuator 2-fold, 3SU MDRC, 250W, 230VAC, with active power measurement | #VALUE! |  | AKD-0201.02 | 041.021 | 430 | 236.5
Dimming Actuator 4-fold, 6SU MDRC, 250W, 230VAC, with active power measurement |  | Best Seller | AKD-0401.02 | 041.022 | 563 | 309.65
Dimming Actuator 4-fold, 4SU MDRC, 1-10V, RGBW |  |  | AKD-0410V.02 | 041.023 | 314 | 172.7
AKD series for 12/24V CV LED
LED Controller 2-channel, 3/6A | #VALUE! |  | AKD-0224V.02 | 041.025 | 234 | 128.7
LED Controller 3-channel, 3/6A, RGB |  |  | AKD-0324V.02 | 041.026 | 311 | 171.05
LED Controller 4-channel, 3/6A, RGBW |  | Best Seller | AKD-0424V.02 | 041.027 | 345 | 189.75
LED Controller 4-channel, 4/8A, RGBW, 4SU MDRC | #VALUE! | Best Seller | AKD-0424R.02 | 041.024 | 366 | 201.3
LED Controller 4-channel, 2/4A, RGBW, 2SU MDRC |  |  | AKD-0424R2.02 | 041.042 | 253 | 139.15
LED Controller CC/CV 30W/230V 700mA both 2-Channels, integrated PS. 24or48V. |  | New!! | AKD-0230CC.02 | 041.066 | 309 | 169.95
LED Controller CC/CV 60W/230V 1,4mA both 2-Channels, integrated PS. 24or48V. |  | New!! | AKD-0260CC.02 | 041.067 | 397 | 218.35
DaliControl IP Gateway & brightness Sensor
DALI Control 64 Gateway, 4SU MDRC | #VALUE! | Best Seller | SCN-DA641.04 | 041.047 | 596 | 327.8
DALI Control 2x64 Gateway, 4SU MDRC |  |  | SCN-DA642.04 | 041.048 | 703 | 386.65
DALI Control Broadcast Gateway, 32 ECGs X4 channels, 4SU MDRC | #VALUE! | New!! | SCN-DABC4.01 | 041.065 | 443 | 243.65
DALI Control Pro64 Gateway, 4SU MDRC |  |  | SCN-DA641P.04S | 041.061 | 780 | 429
Brightness Sensor/Controller with constant level light intensity |  |  | SCN-LSD01.01 | 044.003 | 173 | 95.15
Sensario. Binary Input |  | https://horos.gr/product/mdt/knx-inputs/
BE series MDRC & flush for contact Inputs
Universal Interface 2-fold, flush mounted, Contact Inputs | #VALUE! |  | BE-02001.02 | 042.009 | 65 | 35.75
Universal Interface 4-fold, flush mounted, Contact Inputs |  | Best Seller | BE-04001.02 | 042.010 | 88 | 48.4
Universal Interface 6-fold, flush mounted, Contact Inputs | #VALUE! |  | BE-06001.02 | 042.011 | 114 | 62.7
Universal Interface 2-fold, flush mounted, Inputs 230VAC |  |  | BE-02230.02 | 042.012 | 121 | 66.55
Binary Input 4-fold, 2SU MDRC, Contact Inputs | #VALUE! |  | BE-04000.02 | 042.001 | 230 | 126.5
Binary Input 8-fold, 4SU MDRC, Contact Inputs |  |  | BE-08000.02 | 042.002 | 311 | 171.05
Binary Input 16-fold, 8SU MDRC, Contact Inputs | #VALUE! | Best Seller | BE-16000.02 | 042.003 | 474 | 260.7
Binary Input 32-fold, 12SU MDRC, Contact Inputs |  |  | BE-32000.02 | 042.016 | 684 | 376.2
BE series MDRC for 230VAC & 24VAC/DC
Binary Input 4-fold, 2SU MDRC, Inputs 230VAC | #VALUE! |  | BE-04230.02 | 042.006 | 230 | 126.5
Binary Input 8-fold, 4SU MDRC, Inputs 230VAC |  |  | BE-08230.02 | 042.007 | 311 | 171.05
Binary Input 16-fold, 8SU MDRC, Inputs 230VAC |  |  | BE-16230.02 | 042.008 | 474 | 260.7
Binary Input 4-fold, 2SU MDRC, Inputs 24VAC/DC | #VALUE! |  | BE-04024.02 | 042.004 | 230 | 126.5
Binary Input 8-fold, 4SU MDRC, Inputs 24VAC/DC |  |  | BE-08024.02 | 042.015 | 311 | 171.05
Binary Input 16-fold, 8SU MDRC, Inputs 24VAC/DC |  |  | BE-16024.02 | 042.005 | 474 | 260.7
Sensario. Analog In-/Outputs |  | https://horos.gr/product/mdt/knx-inputs/
Analog I/O 2-fold, flush mounted, 0-10V, In-/Output shiftable |  |  | AIO-0210V.01 | 042.013 | 202 | 111.1
Analog I/O 4-fold, 2SU MDRC, 0-10V, In-/Output shiftable |  |  | AIO-0410V.01 | 042.014 | 270 | 148.5
Coresio. Power Supply |  | https://horos.gr/product/mdt/knx-power-supply/
STV series MDRC Bus power supply
Bus power supply, 2SU MDRC, 160mA | #VALUE! |  | STV-0160.02 | 046.001 | 190 | 104.5
Bus power supply, 2SU MDRC, 320mA |  |  | STV-0320.02 | 046.002 | 245 | 134.75
Bus power supply, 4SU MDRC, 640mA | #VALUE! | Best Seller | STV-0640.02 | 046.003 | 329 | 180.95
Power Supply, 4SU MDRC, 750mA, 24VDC SELV |  |  | STV-0024.01 | 046.007 | 142 | 78.1
STC series MDRC intelligent & redundant Bus Power Supply
Bus Power Supply with diagnostic function, 4SU MDRC, 640mA | #VALUE! |  | STC-0640.01 | 046.004 | 416 | 228.8
Bus Power Supply with diagnostic function, 6SU MDRC, 960mA |  |  | STC-0960.01 | 046.005 | 478 | 262.9
Bus Power Supply with diagnostic function, 6SU MDRC, 1280mA | #VALUE! | Best Seller | STC-1280.01 | 046.006 | 540 | 297
Redundant Bus Power Supply with diagnostic function, 6SU MDRC, 640mA |  |  | STR-0640.01 | 046.011 | 508 | 279.4
Coresio. System Devices |  | https://horos.gr/product/mdt/knx-misc/
USB Interface, 2SU MDRC |  |  | SCN-USBR.02 | 040.007 | 266 | 146.3
IP Interface with IP Secure and Data Secure, 2SU MDRC, with email and time server functions | #VALUE! | Best Seller | SCN-IP000.03 | 040.005 | 329 | 180.95
IP Router with IP Secure and Data Secure, 2SU MDRC, with email and time server functions |  |  | SCN-IP100.03 | 040.003 | 530 | 291.5
Line Coupler with Data Secure, 2SU MDRC |  | Best Seller | SCN-LK001.03 | 040.006 | 383 | 210.65
Time Switch 20-channel with LCD display, 6SU MDRC |  | Best Seller | SCN-RTC20.02 | 040.009 | 318 | 174.9
Logic Modul, 2SU MDRC |  | Best Seller | SCN-LOG1.02 | 040.004 | 263 | 144.65
Safety Module, 2SU MDRC |  |  | SCN-SAFE.01 | 040.010 | 249 | 136.95
Weather Station Home | #VALUE! | Best Seller | SCN-WS3HW.01 | 044.001 | 611 | 336.05
Rain Sensor |  |  | SCN-RS1R.01 | 044.002 | 250 | 137.5
Twilight sensor / tmp.sensor KNX | #VALUE! |  | SCN-DTSEN1.01 | 044.033 | 224 | 123.2
Leakage sensor KNX |  |  | SCN-LSEN1.01 | 044.034 | 221 | 121.55
KNX Modbus Gateway RTU485, 2SU, MDRC |  | New!! | SCN-MBGRTU.01 | 040.011 | 474 | 260.7
Sensario. Controllers/ Sensors 55 |  | https://horos.gr/product/mdt/knx-temperature-control/
Room Temperature Controller, 55, White matt | #VALUE! |  | SCN-RT1UP.01 | 044.005 | 188 | 103.4
Room Temperature Controller, 55, White glossy |  |  | SCN-RT1UP.G1 | 044.006 | 188 | 103.4
Room Temperatur Sensor 1-fold, 55, FM,White matt | #VALUE! |  | SCN-TS1UP.01 | 044.004 | 161 | 88.55
Room Temperatur Sensor 1-fold, 55, FM,White Shiny finish |  |  | SCN-TS1UP.G1 | - | 161 | 88.55
Room Temperature Controller, 55, adjustable, White matt | #VALUE! |  | SCN-RT1UPE.01 | 044.009 | 204 | 112.2
Room Temperature Controller, 55, adjustable, White glossy |  |  | SCN-RT1UPE.G1 | - | 204 | 112.2
Room Temperature/Humidy sensor 55, White glossy | #VALUE! |  | SCN-TFS55.01 | 044.035 | 188 | 103.4
Room Temperature/Humidity sensor 55, Black matt |  |  | SCN-TFS5506.01 | 044.040 | 188 | 103.4
Object Controller 55, White glossy | #VALUE! |  | SCN-RTR55O.01 | 044.030 | 214 | 117.7
Object Controller 55, Black matt |  |  | SCN-RTR55O06.01 | 044.051 | 214 | 117.7
CO2 / VOC Combi Sensor 55, White glossy | #VALUE! |  | SCN-CO2MGS.02 | 044.032 | 443 | 243.65
CO2 / VOC Combi Sensor 55, White matt finish |  |  | SCN-CO2MGS01.02 | 044.041 | 443 | 243.65
CO2 / VOC Combi Sensor 55, Black matt finish |  |  | SCN-CO2MGS06.02 | 044.042 | 443 | 243.65
Temperature Controllers/ Sensors
Temperature Controller 8-fold, 2SU, MDRC |  |  | SCN-RT8REG.02 | 044.031 | 319 | 175.45
Temperature Controller/Sensor 2-fold, flush mounted | #VALUE! |  | SCN-RT2UP.01 | 044.007 | 195 | 107.25
Temperature Controller/Sensor 4-fold, flush mounted |  |  | SCN-RT4UP.01 | 044.008 | 226 | 124.3
Temperature Controller/Sensor 6-fold, surface mounted | #VALUE! |  | SCN-RT6AP.01 | 044.015 | 350 | 192.5
tmp.sensor PT1000 standard 1m |  |  | SCN-PTST1.01 | 044.010 | 30 | 16.5
tmp.sensor PT1000 standard 3m | #VALUE! |  | SCN-PTST3.01 | 044.011 | 37 | 20.35
tmp.sensor PT1000 strap on installation |  |  | SCN-PTAN3.01 | 044.012 | 57 | 31.35
tmp.sensor PT1000 ceiling installation |  |  | SCN-PTDE0.01 | 044.013 | 73 | 40.15
Elevio. Operations and Indicators |  | https://horos.gr/product/mdt/knx-push-buttons/
Push Buttons,White, 55mm
Push Button 2-fold, 55, White matt | #VALUE! |  | BE-TA5502.02 | 043.001 | 106 | 58.3
Push Button 4-fold, 55, White matt |  |  | BE-TA5504.02 | 043.002 | 117 | 64.35
Push Button 6-fold, 55, White matt | #VALUE! |  | BE-TA5506.02 | 043.003 | 132 | 72.6
Push Button 8-fold, 55, White matt |  |  | BE-TA5508.02 | 043.004 | 142 | 78.1
Push Button 2-fold, 55, White glossy |  |  | BE-TA5502.G2 | 043.009 | 106 | 58.3
Push Button 4-fold, 55, White glossy |  |  | BE-TA5504.G2 | 043.010 | 117 | 64.35
Push Button 6-fold, 55, White glossy |  |  | BE-TA5506.G2 | 043.011 | 129 | 70.95
Push Button 8-fold, 55, White glossy |  |  | BE-TA5508.G2 | 043.012 | 142 | 78.1
Push Buttons, White, 55 with LED
Push Button Plus Led 2-fold, 55, White matt | #VALUE! | Best Seller | BE-TA55P2.02 | 043.005 | 142 | 78.1
Push Button Plus Led 4-fold, 55, White matt |  | Best Seller | BE-TA55P4.02 | 043.006 | 153 | 84.15
Push Button Plus Led 6-fold, 55, White matt | #VALUE! |  | BE-TA55P6.02 | 043.007 | 168 | 92.4
Push Button Plus Led 8-fold, 55, White matt |  | Best Seller | BE-TA55P8.02 | 043.008 | 176 | 96.8
Push Button Plus Led 2-fold, 55, White glossy |  |  | BE-TA55P2.G2 | 043.013 | 142 | 78.1
Push Button Plus Led 4-fold, 55, White glossy |  |  | BE-TA55P4.G2 | 043.014 | 153 | 84.15
Push Button Plus Led 6-fold, 55, White glossy |  |  | BE-TA55P6.G2 | 043.015 | 168 | 92.4
Push Button Plus Led 8-fold, 55, White glossy |  |  | BE-TA55P8.G2 | 043.016 | 176 | 96.8
Push Buttons, Black, 55 with-without LED
KNX Push Button Plus Led 55 2-fold, Black matt | #VALUE! | Best Seller | BE-TA55P206.02 | 043.081 | 145 | 79.75
KNX Push Button Plus Led 55 4-fold, Black matt |  | Best Seller | BE-TA55P406.02 | 043.082 | 156 | 85.8
KNX Push Button Plus Led 55 6-fold, Black matt | #VALUE! |  | BE-TA55P606.02 | 043.083 | 171 | 94.05
KNX Push Button Plus Led 55 8-fold, Black matt |  |  | BE-TA55P806.02 | 043.084 | 179 | 98.45
KNX Push Button Plus Led +Temp Sensor 55 2-fold, Black matt |  |  | BE-TA55T206.02 | 043.085 | 157 | 86.35
KNX Push Button Plus Led +Temp Sensor 55 4-fold, Black matt |  |  | BE-TA55T406.02 | 043.086 | 169 | 92.95
KNX Push Button Plus Led +Temp Sensor 55 6-fold, Black matt |  |  | BE-TA55T606.02 | 043.087 | 184 | 101.2
KNX Push Button Plus Led +Temp Sensor 55 8-fold, Black matt |  |  | BE-TA55T806.02 | 043.088 | 193 | 106.15
KNX Push Button 55 2-fold, Black matt |  |  | BE-TA550206.02 | - | 109 | 59.95
KNX Push Button 55 4-fold, Black matt |  |  | BE-TA550406.02 | - | 120 | 66
KNX Push Button 55 6-fold, Black matt |  |  | BE-TA550606.02 | - | 132 | 72.6
KNX Push Button 55 8-fold, Black matt |  |  | BE-TA550806.02 | - | 145 | 79.75
Push Buttons, White, 55 with LED & tmp.sensor
Push Button Plus Led +Temp Sensor 55 2-fold, White matt | #VALUE! |  | BE-TA55T2.02 | 043.089 | 155 | 85.25
Push Button Plus Led +Temp Sensor 55 2-fold, White glossy |  |  | BE-TA55T2.G2 | 043.099 | 155 | 85.25
Push Button Plus Led +Temp Sensor 55 4-fold, White matt | #VALUE! |  | BE-TA55T4.02 | 043.090 | 167 | 91.85
Push Button Plus Led +Temp Sensor 55 4-fold, White glossy |  |  | BE-TA55T4.G2 | 043.100 | 167 | 91.85
Push Button Plus Led +Temp Sensor 55 6-fold, White matt |  |  | BE-TA55T6.02 | 043.091 | 180 | 99
Push Button Plus Led +Temp Sensor 55 6-fold, White glossy |  |  | BE-TA55T6.G2 | 043.101 | 180 | 99
Push Button Plus Led +Temp Sensor 55 8-fold, White matt |  |  | BE-TA55T8.02 | 043.092 | 191 | 105.05
Push Button Plus Led +Temp Sensor 55 8-fold, White glossy |  |  | BE-TA55T8.G2 | 043.102 | 191 | 105.05
Elevio. Push Button Lite 55, RGBW |  | https://horos.gr/product/mdt/knx-push-buttons/
Push Button Lite 55 2-Fold, RGBW, Neutral, White glossy | #VALUE! | Best Seller | BE-TAL5501.01 | 043.017 | 113 | 62.15
Push Button Lite 55 4-Fold, RGBW, Neutral, White glossy |  |  | BE-TAL5502.01 | 043.020 | 124 | 68.2
Push Button Lite 55 4-Fold RGBW Neutral White glossy |  | Best Seller | BE-TAL5504.01 | 043.066 | 124 | 68.2
Push Button Lite 55 2-Fold, RGBW, Neutral, Black matt | #VALUE! | Best Seller | BE-TAL550106.01 | 043.103 | 113 | 62.15
Push Button Lite 55 4-Fold, RGBW, Neutral, Black matt |  |  | BE-TAL550206.01 | 043.104 | 124 | 68.2
Push Button Lite 55 4-Fold RGBW Neutral Black matt |  | Best Seller | BE-TAL550406.01 | 043.105 | 124 | 68.2
Push Button Lite 55 1-Fold, RGBW, Blinds, White glossy | #VALUE! |  | BE-TAL5501.A1 | - | 113 | 62.15
Push Button Lite 55 2-Fold, RGBW, Blinds, White glossy |  |  | BE-TAL5502.A1 | 043.021 | 124 | 68.2
Push Button Lite 55 1-Fold, RGBW, Blinds, Black matt | #VALUE! |  | BE-TAL550106.A1 | - | 113 | 62.15
Push Button Lite 55 2-Fold, RGBW, Blinds, Black matt |  |  | BE-TAL550206.A1 | - | 124 | 68.2
Push Button Lite 55 2-Fold, RGBW, Neutral, with tmp.sensor, White glossy |  |  | BE-TAL55T1.01 | 043.023 | 119 | 65.45
Push Button Lite 55 4-Fold, RGBW, Neutral, with tmp.sensor, White glossy |  |  | BE-TAL55T2.01 | 043.025 | 130 | 71.5
Push Button Lite 55 4-Fold, RGBW, Neutral, with tmp.sensor, White glossy |  |  | BE-TAL55T4.01 | 043.067 | 130 | 71.5
Push Button Lite 55 2-Fold, RGBW, Neutral, with tmp.sensor, Black matt |  |  | BE-TAL55T106.01 | - | 119 | 65.45
Push Button Lite 55 4-Fold, RGBW, Neutral, with tmp.sensor, Black matt |  |  | BE-TAL55T206.01 | - | 130 | 71.5
Push Button Lite 55 4-Fold, RGBW, Neutral, with tmp.sensor, Black matt |  |  | BE-TAL55T406.01 | - | 130 | 71.5
Push Button Lite 55 1-Fold, NoLeds Basic, Neutral, White glossy |  |  | BE-TAL55B1.01 | 043.079 | 101 | 55.55
Push Button Lite 55 2-Fold, RGBW, Switch, White glossy |  |  | BE-TAL5501.B1 | 043.019 | 113 | 62.15
Push Button Lite 55 4-Fold, RGBW, Switch, White glossy |  |  | BE-TAL5502.B1 | 043.022 | 124 | 68.2
Push Button Lite 55 2-Fold, RGBW, Switch, with tmp.sensor, White glossy |  |  | BE-TAL55T1.B1 | 043.024 | 119 | 65.45
Push Button Lite 55 4-Fold, RGBW, Switch, with tmp.sensor, White glossy |  |  | BE-TAL55T2.B1 | 043.026 | 130 | 71.5
Push Button Lite 55 4-Fold, RGBW, Blinds & Switch, White glossy |  |  | BE-TAL5502.C1 | 043.071 | 124 | 68.2
Elevio. Glass Push Button II Lite |  | https://horos.gr/product/mdt/knx-glass-push-buttons/
Glass Push Button II Lite 1-fold, RGBW, neutral, Black | #VALUE! |  | BE-GTL10S.01S | 043.027 | 163 | 89.65
Glass Push Button II Lite 1-fold, RGBW, blinds, Black |  |  | BE-GTL10S.A1S | - | 163 | 89.65
Glass Push Button II Lite 1-fold, RGBW, neutral, White | #VALUE! |  | BE-GTL10W.01 | 043.028 | 163 | 89.65
Glass Push Button II Lite 1-fold, RGBW, blinds, White |  |  | BE-GTL10W.A1 | 043.035 | 163 | 89.65
Glass Push Button II Lite 1-fold, RGBW, neutral, with tmp.sensor, Black |  |  | BE-GTL1TS.01S | 043.029 | 186 | 102.3
Glass Push Button II Lite 1-fold, RGBW, switch, with tmp.sensor, Black |  |  | BE-GTL1TS.B1S | 043.080 | 186 | 102.3
Glass Push Button II Lite 1-fold, RGBW, neutral, with tmp.sensor, White |  |  | BE-GTL1TW.01 | 043.030 | 186 | 102.3
Glass Push Button II Lite 1-fold, RGBW, switch, with tmp.sensor, White |  |  | BE-GTL1TW.B1 | - | 186 | 102.3
Glass Push Button II Lite 2-fold, RGBW, neutral, Black |  |  | BE-GTL20S.01S | 043.031 | 177 | 97.35
Glass Push Button II Lite 2-fold, RGBW, blinds, Black |  |  | BE-GTL20S.A1S | 043.074 | 177 | 97.35
Glass Push Button II Lite 2-fold, RGBW, neutral, White |  |  | BE-GTL20W.01 | 043.032 | 177 | 97.35
Glass Push Button II Lite 2-fold, RGBW, blinds, White |  |  | BE-GTL20W.A1 | 043.072 | 177 | 97.35
Glass Push Button II Lite 2-fold, RGBW, neutral, with tmp.sensor, Black |  |  | BE-GTL2TS.01S | 043.033 | 200 | 110
Glass Push Button II Lite 2-fold, RGBW, switch, with tmp.sensor, Black |  |  | BE-GTL2TS.B1S | 043.060 | 200 | 110
Glass Push Button II Lite 2-fold, RGBW, blinds and light, with tmp.sensor, Black |  |  | BE-GTL2TS.C1S | 043.061 | 200 | 110
Glass Push Button II Lite 2-fold, RGBW, UP/DOWN (R)+I/O symbol (L), with temp.sensor, Black |  |  | BE-GTL2TS.D1S | - | 200 | 110
Glass Push Button II Lite 2-fold, RGBW, neutral, with tmp.sensor, White |  |  | BE-GTL2TW.01 | 043.034 | 200 | 110
Glass Push Button II Lite 2-fold, RGBW, switch, with tmp.sensor, White |  |  | BE-GTL2TW.B1 | 043.062 | 200 | 110
Glass Push Button II Lite 2-fold, RGBW, blinds and switch, with tmp.sensor, White |  |  | BE-GTL2TW.C1 | - | 200 | 110
Glass Push Button II Lite 2-fold, RGBW, UP/DOWN (R)+I/O symbol (L), with temp.sensor, White |  |  | BE-GTL2TW.D1 | - | 200 | 110
Glass Push Button II Lite 4-fold, RGBW, neutral, White |  |  | BE-GTL40W.01 | 043.059 | 177 | 97.35
Glass Push Button II Lite 4-fold, RGBW, neutral, with tmp.sensor, White |  |  | BE-GTL4TW.01 | 043.064 | 200 | 110
Glass Push Button II Lite 4-fold, RGBW, neutral, Black |  |  | BE-GTL40S.01S | 043.075 | 177 | 97.35
Glass Push Button II Lite 4-fold, RGBW, neutral, with tmp.sensor, Black |  |  | BE-GTL4TS.01S | 043.073 | 200 | 110
Lucilio. Glass Push Button II Smart & Push Button Smart 86 |  | https://horos.gr/product/mdt/knx-smart-push-buttons/
Glass Push Button II Smart, White | #VALUE! | Best Seller | BE-GT20W.02 | 043.046 | 277 | 152.35
Glass Push Button II Smart, Black |  | Best Seller | BE-GT20S.02S | 043.047 | 277 | 152.35
Glass Push Button II Smart with tmp.sensor, White | #VALUE! |  | BE-GT2TW.02 | 043.048 | 312 | 171.6
Glass Push Button II Smart with tmp.sensor, Black |  |  | BE-GT2TS.02S | 043.049 | 312 | 171.6
Push Button Smart 86 with color display, Plastic, White glossy | #VALUE! |  | BE-TAS86.02 | 043.052 | 256 | 140.8
Push Button Smart 86 with color display and tmp.sensor, White glossy |  |  | BE-TAS86T.02 | 043.053 | 292 | 160.6
KNX Push Button Smart 86 with color display, Plastic, Black matt finish | #VALUE! |  | BE-TAS8606.02 | 043.094 | 256 | 140.8
KNX Push Button Smart 86 with color display and tmp.sensor, Black matt finish |  |  | BE-TAS86T06.02 | 043.095 | 292 | 160.6
Push Button Smart 55 4-fold with color display, White glossy | #VALUE! | Best Seller | BE-TAS5504.01 | 043.068 | 191 | 105.05
Push Button Smart 55 4-F with color display, temp sens, White glossy |  |  | BE-TAS55T4.01 | 043.069 | 203 | 111.65
KNX Push Button Smart 55 4-fold with color display, Black matt | #VALUE! |  | BE-TAS550406.01 | 043.096 | 191 | 105.05
KNX Push Button Smart 55 4-fold with color display and T-/H-sensor, Black matt |  |  | BE-TAS55T406.01 | 043.097 | 203 | 111.65
Blind Push Button Smart 55 4-fold with color display, White glossy |  |  | BE-JTA5504.01 | 043.078 | 191 | 105.05
Blind Push Button Smart 55 4-fold with color display, Black matt |  | New! | BE-JTA550406.01 | - | 191 | 105.05
Elevio. Glass Central Operations Unit & Room Temperature Controllers |  | https://horos.gr/product/mdt/knx-temperature-control/
Glass Central Operation Unit Smart with color display, White | #VALUE! |  | BE-GBZW.01 | 043.056 | 446 | 245.3
Glass Central Operation Unit Smart with color display, Black |  |  | BE-GBZS.01S | 043.057 | 446 | 245.3
Central Operation Unit Smart 86 with color display, Plastic, White glossy |  |  | BE-BZS86.01 | 043.058 | 420 | 231
Central Operation Unit Smart 86 with color display, Black matt | New! |  | BE-BZS8606.01 | 043.098 | 420 | 231
Glas Room Temperature Controller Smart with color display, White | #VALUE! |  | SCN-RTRGW.02 | 043.076 | 299 | 164.45
Glas Room Temperature Controller Smart with color display, Black |  |  | SCN-RTRGS.02S | 043.077 | 299 | 164.45
Room Temperature Controller Smart 55 with color display, White glossy | #VALUE! | Best Seller | SCN-RTR55S.01 | 043.063 | 250 | 137.5
Room Temperature Controller Smart 55 with color display, Black |  |  | SCN-RTR55S06.01 | 043.093 | 252 | 138.6
Room Temperature Extension Unit Smart 55 with color display, White glossy |  |  | SCN-RTN55S.01 | 043.065 | 217 | 119.35
KNX Room Temperature Extension Unit Smart 55, Black matt |  |  | SCN-RTN55S06.01 | - | 217 | 119.35
Glass LED Indicator, White | #VALUE! |  | SCN-GLED1W.01 | 043.050 | 259 | 142.45
Glass LED Indicator, Black |  |  | SCN-GLED1S.01S | 043.070 | 259 | 142.45
LED Indicator, 55, White glossy |  |  | SCN-LED55.01 | 043.051 | 214 | 117.7
Elevio. Glass Buttons Plus with/without tmp.sensors |  | https://horos.gr/product/mdt/knx-glass-push-buttons/
Glass Push Button Plus 4-fold, White | #VALUE! | Best Seller | BE-GT04W.01 | 043.036 | 190 | 104.5
Glass Push Button Plus 4-fold, Black |  | Best Seller | BE-GT04S.01 | 043.037 | 190 | 104.5
Glass Push Button Plus 8-fold, White | #VALUE! |  | BE-GT08W.01 | 043.039 | 250 | 137.5
Glass Push Button Plus 8-fold, Black |  |  | BE-GT08S.01 | 043.038 | 250 | 137.5
Glass Push Button Plus 4-fold, White, with tmp.sensor |  |  | BE-GTT4W.01 | 043.041 | 228 | 125.4
Glass Push Button Plus 4-fold, Black, with tmp.sensor |  |  | BE-GTT4S.01 | 043.040 | 228 | 125.4
Glass Push Button Plus 8-fold, White, with tmp.sensor |  |  | BE-GTT8W.01 | 043.043 | 289 | 158.95
Glass Push Button Plus 8-fold, Black, with tmp.sensor |  |  | BE-GTT8S.01 | 043.042 | 289 | 158.95
Motivio. Presence Detectors |  | https://horos.gr/product/mdt/knx-presence-detectors/
Micro Motion Detector, Secure, White. Detection angle H150 / V35, range 5m | #VALUE! | New! | PSE-BWML01.01S | - | 250 | 137.5
Micro Motion Detector, Secure, Black. Detection angle H150 / V35, range 5m |  | New! | PSE-BWML06.01S | - | 250 | 137.5
Micro Presence Detector 360, White, Range 7m, Diam.18mm dept 70mm | #VALUE! | New! | PSE-PMC01.01S | - | 250 | 137.5
Micro Presence Detector 360, Black, Range 7m, Diam.18mm dept 70mm |  | New! | PSE-PMC06.01S | - | 250 | 137.5
Mini Presence Detector 360°, flush mounted, Whitematt, Presence 3-4m | #VALUE! | Best Seller | SCN-P360D1.01 | 044.020 | 164 | 90.2
Presence Detector 360° L2 IP44, Flush, Whitematt. Range 9m presence 5m |  |  | SCN-P360L2.03 | 044.043 | 180 | 99
Presence Detector 360° L3 TempS, Flush, Whitematt Range 11m presence 5m | #VALUE! |  | SCN-P360L3.03 | 044.037 | 190 | 104.5
Presence Detector 360° with 3 sensors, White matt | #VALUE! | Best Seller | SCN-P360D3.03 | 044.021 | 175 | 96.25
Presence Detector 360° with 4 sensors, White matt |  |  | SCN-P360D4.03 | 044.022 | 202 | 111.1
Presence Detector 360° with 3 sensors, constant level light intensity, White matt |  |  | SCN-P360K3.03 | 044.023 | 201 | 110.55
Presence Detector 360° |  |  | SCN-P360K4.03 | 044.024 | 226 | 124.3
Presence Detector MR16 360° with 3 sensors |  |  | SCN-P360E3.03 | 044.025 | 190 | 104.5
KNX Motion Detector 2.2 m TS 55, Pure White | #VALUE! | Best Seller | PSE-B552T01.02 | - | 189 | 103.95
KNX Motion Detector 2.2 m TS 55, Pure White glossy |  |  | PSE-B552T02.02 | 044.046 | 189 | 103.95
KNX Motion Detector 2.2 m TS 55, black matt |  |  | PSE-B552T06.02 | - | 189 | 103.95
Installation frame Slimline for SCN-P360x3.02, White matt |  |  | SCN-P360R3.01 | 044.026 | 14 | 7.7
Installation frame Slimline for SCN-P360x4.02, White matt |  |  | SCN-P360R4.01 | 044.027 | 14 | 7.7
Installation frame Slimline for SCN-P360x306.03, Black matt finish |  |  | SCN-P360R306.01 | 044.044 | 14 | 7.7
Installation frame Slimline for SCN-P360x4.03, Black matt finish |  |  | SCN-P360R406.01 | 044.045 | 14 | 7.7
Glass Presence Detector
Glass Presence Detector 360° with 3 sensors, White, with tmp.sensor |  |  | SCN-G360D3.03 | 044.019 | 215 | 118.25
Glass Presence Detector 360°, White, constant level light intensity and temperatur sensor |  |  | SCN-G360K3.03 | 044.028 | 239 | 131.45
Motion Detector/Automatic Switch
Motion Detector/Automatic Switch 55, White matt | #VALUE! |  | SCN-BWM55.02 | 044.017 | 182 | 100.1
Motion Detector/Automatic Switch TS, White matt |  |  | SCN-BWM55T.02 | 044.036 | 205 | 112.75
Motion Detector/Automatic Switch 55, White glossy |  |  | SCN-BWM55.G2 | 044.018 | 182 | 100.1
Motion Detector/Automatic Switch TS, White glossy |  |  | SCN-BWM55T.G2 | 044.029 | 205 | 112.75
KNX Motion Detector/Automatic Switch 55, Black matt | #VALUE! |  | SCN-BWM5506.02 | 044.038 | 182 | 100.1
KNX Motion Detector/Automatic Switch TS 55, Black matt |  |  | SCN-BWM55T06.02 | 044.039 | 205 | 112.75
Presence Detector 360° with climate CO2 and VOC
KNX Combi-Presence Detector 360° with climate sensors CO2 and VOC, White matt finish | #VALUE! |  | SCN-KP360K301.03 | 044.047 | 473 | 260.15
KNX Combi-Presence Detector 360° with climate sensors CO2 and VOC, Black matt finish |  |  | SCN-KP360K306.03 | 044.048 | 473 | 260.15
MDT Installation frame Slimline for SCN-KP360R301.01, White matt finish | #VALUE! |  | SCN-KP360R301.01 | 044.049 | 14 | 7.7
MDT Installation frame Slimline for SCN-KP360R306.01, Black matt finish |  |  | SCN-KP360R306.01 | 044.050 | 14 | 7.7
Aurelio. Visualization, Servers & Cloud |  | https://horos.gr/product/mdt/knx-servers-visualization/
VisuControl Easy object server, 2SU MDRC, with iPhone/iPad app | #VALUE! | Best Seller | VC-EASY.03 | 040.001 | 884 | 486.2
KNX Glass Touch Panel Smart 6 inch, KNX Secure, black | #VALUE! |  | BE-GTS06TS.01S | 045.020 | 735 | 404.25
KNX Glass Touch Panel Smart 6 inch, KNX Secure, white |  |  | BE-GTS06TW.01S | 045.021 | 735 | 404.25
KNX Glass Touch Panel Smart Plus 6 inch, KNX Secure, black | #VALUE! |  | BE-GTSP6TS.01S | 045.022 | 850 | 467.5
KNX Glass Touch Panel Smart Plus 6 inch, KNX Secure, white |  |  | BE-GTSP6TW.01S | 045.023 | 850 | 467.5
KNX Touch Panel VisuControl Plus, 8-inch / 20.3 cm display, Secure. Display 1280X800 pixels, up to 500 elements visualised. Remote access via MDT VisuControlPlus app (Android /iOS/Windows). Speaker, microphone for SIP door communication, I/O for doorbell button and signalling, Integration of IP cameras. | #VALUE! | Really Hot! | VC-08P82.01S | 045.024 | 1727 | 949.85
Varisio. Wireless technology KNX RF+ |  | https://horos.gr/product/mdt/knx-rf-control/
KNX RF+ Line Coupler, flush mounted, Secure |  |  | RF-LK001.03 | 045.005 | 417 | 229.35
RF+ Glass Push Buttons with integrated actuators and tmp.sensors
KNX RF+ Glass Push Button Plus 4-fold with Actuator, White |  |  | RF-GTT4W.01 | 045.006 | 299 | 164.45
KNX RF+ Glass Push Button Plus 4-fold with Actuator, Black |  |  | RF-GTT4S.01 | 045.007 | 299 | 164.45
KNX RF+ Glass Push Button Plus 8-fold with Actuator, White |  |  | RF-GTT8W.01 | 045.008 | 374 | 205.7
KNX RF+ Glass Push Button Plus 8-fold with Actuator, Black |  |  | RF-GTT8S.01 | 045.009 | 374 | 205.7
RF+ Push Button, flush mounted, 55mm with LED and integrated actuators
KNX RF+ Push Button Plus 2 gang, with Actuator, White glossy |  |  | RF-TA55A2.01 | 045.010 | 214 | 117.7
KNX RF+ Push Button Plus 4 gang, with Actuator, White glossy |  |  | RF-TA55A4.01 | 045.011 | 230 | 126.5
KNX RF+ Push Button Plus 6 gang, with Actuator, White glossy |  |  | RF-TA55A6.01 | 045.012 | 244 | 134.2
KNX RF+ Push Button Plus 8 gang, with Actuator, White glossy |  |  | RF-TA55A8.01 | 045.013 | 259 | 142.45
KNX RF+ Push Button Plus 2 gang, with Actuator, Black matt finish |  |  | RF-TA55A206.01 | - | 214 | 117.7
KNX RF+ Push Button Plus 4 gang, with Actuator, Black matt finish |  |  | RF-TA55A406.01 | - | 230 | 126.5
KNX RF+ Push Button Plus 6 gang, with Actuator, Black matt finish |  |  | RF-TA55A606.01 | - | 244 | 134.2
KNX RF+ Push Button Plus 8 gang, with Actuator, Black matt finish |  |  | RF-TA55A806.01 | - | 259 | 142.45
KNX RF+ P.B. Light 55 Basic 1-Gang, 2XActuator/1Xshutter, Secure, neutral, White glossy |  | New | RF-TAL55B102.01S | - | 182 | 100.1
KNX RF+ P.B. Light 55 Basic 1-Gang, 2XActuator/1Xshutter, Secure, neutral, Black |  | New | RF-TAL55B106.01S | - | 184 | 101.2
KNX RF+ P.B. Light 55 Basic 2-Gang, 2XActuator/1Xshutter, Secure, neutral, White glossy |  | New | RF-TAL55B202.01S | - | 199 | 109.45
KNX RF+ P.B. Light 55 Basic 2-Gang, 2XActuator/1Xshutter, Secure, neutral, Black |  | New | RF-TAL55B206.01S | - | 201 | 110.55
RF+ Switch & shutter actuators flush mounted
KNX RF+ Switch Actuator 1-fold, flush mounted, 10A, 230VAC, Secure |  |  | RF-AKK1UP.01 | 045.014 | 228 | 125.4
KNX RF+ Switch Actuator 2-fold, flush mounted, 10A, 230VAC, Secure |  |  | RF-AKK2UP.01 | 045.015 | 246 | 135.3
KNX RF+ Shutter Actuator 1-fold, flush mounted, 10A, 230VAC, Secure |  |  | RF-JAL1UP.01 | 045.016 | 246 | 135.3
RF+ Universal Interface flush mounted for 230VAC inputs & plug adapter
KNX RF+ Universal Interface 2-fold, flush mounted, Secure |  |  | RF-BE2230.01 | 045.017 | 211 | 116.05
KNX RF+ Socket 1-fold, 16A, 230VAC, Secure |  |  | RF-AKK1ST.01 | 045.018 | 211 | 116.05
KNX RF+ Socket 1-fold, 16A, 230VAC with active power measurement, Secure |  |  | RF-AZK1ST.01 | 045.019 | 246 | 135.3
Accessories / MDT Glass Frames / Spare Parts
WAGO Bus Connector, packaging unit 50 pieces | #VALUE! |  | ZBUSKLE | 046.008 | 53 | 29.15
Glass cover frame 1-fold for 55mm systems, White |  |  | BE-GTR1W.01 | 047.002 | 44 | 24.2
Glass cover frame 1-fold for 55mm systems, Black | #VALUE! |  | BE-GTR1S.01S | 047.001 | 44 | 24.2
Glass cover frame 2-fold for 55mm systems, White |  |  | BE-GTR2W.01 | 047.004 | 56 | 30.8
Glass cover frame 2-fold for 55mm systems, Black | #VALUE! |  | BE-GTR2S.01S | 047.003 | 56 | 30.8
Glass cover frame 3-fold for 55mm systems, White |  |  | BE-GTR3W.01 | 047.006 | 79 | 43.45
Glass cover frame 3-fold for 55mm systems, Black |  |  | BE-GTR3S.01S | 047.005 | 79 | 43.45
MDT assembly insert with retaining springs for installation in hollow ceilings |  |  | ZMESF | 047.023 | 19 | 10.45
Metal Installation Frame type A. For BE-TA55xx, SCN-RT1xx, SCN-TS1UP, SCN-MGSUP, SCN-LED55, SCN-BWM55, RF-TA55Ax, SCN-G360x3 |  |  | ZMTRM-A | - | 12 | 6.6
Metal Installation Frame type B. For BE-GTxxx, SCN-GLED1x, RF-GTTxx. |  |  | ZMTRM-B | - | 12 | 6.6
Metal Installation Frame type D. For BE-GTL1xx, BE-GTL2xx, BE-GTL4xx, BE-GT2xx, BE-GBZx, SCN-RTRGx, BE-TAS86x, BE-BZS86. |  |  | ZMTRM-D | - | 11 | 6.05
Title block cover for Push Button Plus BE-TA55x2.x2 White |  |  | ZSFA55P2 | 047.013 | 10 | 5.5
Title block cover for Push Button Plus BE-TA55x4.x2 White |  |  | ZSFA55P4 | 047.014 | 10 | 5.5
Title block cover for Push Button Plus BE-TA55x6.x2 White |  |  | ZSFA55P6 | 047.015 | 10 | 5.5
Title block cover for Push Button Plus BE-TA55x8.x2 White |  |  | ZSFA55P8 | 047.016 | 10 | 5.5
Title block cover for Push Button BE-TA550x.x1 |  |  | ZSFA5500 | 047.017 | 10 | 5.5
Title block cover for Push Button Plus BE-TA55x2.x2 Black |  |  | ZSFA55P2S | 047.019 | 10 | 5.5
Title block cover for Push Button Plus BE-TA55x4.x2 Black |  |  | ZSFA55P4S | 047.020 | 10 | 5.5
Title block cover for Push Button Plus BE-TA55x6.x2 Black |  |  | ZSFA55P6S | 047.021 | 10 | 5.5
Title block cover for Push Button Plus BE-TA55x8.x2 Black |  |  | ZSFA55P8S | 047.022 | 10 | 5.5
Connection cable push button interface BE-02001.0x |  |  | ZCC-BE02 | - | 30 | 16.5
Πλαίσια System 55 |  | https://horos.gr/product-category/knx-frames/ |  |  | eshop max | 35%
ΠΛΑΙΣΙΟ S1 (καμπύλο) ΛΕΥΚΟ ΜΑΤ 1-Fold. System55 | #VALUE! |  | S1-WP.1F | 077.003 | 3.15 | 2.0475
ΠΛΑΙΣΙΟ S1 (καμπύλο) ΛΕΥΚΟ ΜΑΤ 2-Fold. System55 |  |  | S1-WP.2F | 077.013 | 6.3 | 4.095
ΠΛΑΙΣΙΟ S1 (καμπύλο) ΛΕΥΚΟ ΜΑΤ 3-Fold. System55 |  |  | S1-WP.3F | 077.014 | 10 | 6.5
ΠΛΑΙΣΙΟ S1 (καμπύλο) ΑΝΘΡΑΚΙ ΜΑΤ 1-Fold. System55 | #VALUE! |  | S1-BP.1F | 077.004 | 5.75 | 3.7375
ΠΛΑΙΣΙΟ S1 (καμπύλο) ΑΝΘΡΑΚΙ ΜΑΤ 2-Fold. System55 |  |  | S1-BP.2F | 077.016 | 11.1 | 7.215
ΠΛΑΙΣΙΟ S1 (καμπύλο) ΑΝΘΡΑΚΙ ΜΑΤ 3-Fold. System55 |  |  | S1-BP.3F | 077.017 | 17.7 | 11.505
ΠΛΑΙΣΙΟ S1 (καμπύλο) ΛΕΥΚΟ ΓΥΑΛΙΣΤΕΡΟ 1-Fold. System55 |  |  | S1-SP.1F | 077.001 | 3.05 | 1.9825
ΠΛΑΙΣΙΟ B7 (τετραγωνισμένο) ΛΕΥΚΟ ΜΑΤ 1-Fold. System55 | #VALUE! |  | B7-WP.1F | 077.028 | 8.75 | 5.6875
ΠΛΑΙΣΙΟ B7 (τετραγωνισμένο) ΛΕΥΚΟ ΜΑΤ 2-Fold. System55 |  |  | B7-WP.2F | 077.031 | 19.1 | 12.415
ΠΛΑΙΣΙΟ B7 (τετραγωνισμένο) ΛΕΥΚΟ ΜΑΤ 3-Fold. System55 |  |  | B7-WP.3F | 077.032 | 34.55 | 22.4575
ΠΛΑΙΣΙΟ B7 (τετραγωνισμένο) ΑΝΘΡΑΚΙ 1-Fold. System55 | #VALUE! |  | B7-BP.1F | 077.029 | 10.35 | 6.7275
ΠΛΑΙΣΙΟ B7 (τετραγωνισμένο) ΑΝΘΡΑΚΙ 2-Fold. System55 |  |  | B7-BP.2F | 077.034 | 21.6 | 14.04
ΠΛΑΙΣΙΟ B7 (τετραγωνισμένο) ΑΝΘΡΑΚΙ 3-Fold. System55 |  |  | B7-BP.3F | 077.035 | 36.95 | 24.0175
ΠΡΙΖΑ ΣΟΥΚΟ +ΠΛΑΚΙΔΙΟ S1/B7 ΛΕΥΚΗ ΜΑΤ System55 | #VALUE! |  | B7.WS | 076.002 | 10.35 | 6.7275
ΠΡΙΖΑ ΣΟΥΚΟ +ΠΛΑΚΙΔΙΟ S1/B7 ΑΝΘΡΑΚΙ ΜΑΤ System55 |  |  | B7.BS | 076.003 | 11.3 | 7.345
ΠΡΙΖΑ ΣΟΥΚΟ ΜΕ ΠΡΟΣΤΑΣΙΑ +ΠΛΑΚΙΔΙΟ S1/B7 ΛΕΥΚΗ ΜΑΤ System55 | #VALUE! |  | B7.WSS | 076.006 | 14.75 | 9.5875
ΠΡΙΖΑ ΣΟΥΚΟ ΜΕ ΠΡΟΣΤΑΣΙΑ +ΠΛΑΚΙΔΙΟ S1/B7 ΑΝΘΡΑΚΙ ΜΑΤ System55 |  |  | B7.BSS | 076.007 | 15.7 | 10.205
ΠΡΙΖΑ ΣΟΥΚΟ +ΠΛΑΚΙΔΙΟ +ΚΑΠΑΚΙ S1/B7 ΛΕΥΚΗ ΜΑΤ System55 |  |  | B7.WSK | 076.010 | 18.1 | 11.765
ΠΡΙΖΑ ΣΟΥΚΟ +ΠΛΑΚΙΔΙΟ +ΚΑΠΑΚΙ S1/B7 ΑΝΘΡΑΚΙ ΜΑΤ System56 |  |  | B7.BSK | 076.011 | 19.75 | 12.8375
| Λεπτομέρειες υλικών, Data sheets στο | www.mdt-knx.gr
| Η παραγγελία σας εύκολα στο e-shop μας με ειδικές τιμές | https://horos.gr/eshop/
Επαγγελματίες KNX Partners επικοινωνήστε για να σας ανοίξουμε eshop λογαριασμό.
Επαγγελματίες KNX Partners επικοινωνήστε μαζί μας για Ειδικές ΕΚΠΤΩΣΕΙΣ ΕΡΓΟΥ.